## 2025 CBC
Sub Group | ITEM NO. | 2025 CBC |  |  |  | MEETING COMMENTS |  | ADDITIONAL COMMENTS |  |  |  |  | ADDITIONAL COMMENTS | [5 empty] | ADDITIONAL COMMENTS | [5 empty] | ADDITIONAL COMMENTS | [5 empty] | ADDITIONAL COMMENTS | [5 empty] | FINAL DECISION
|  | Chapt | Section | Link | Section Text | Date | Comment | Date | Comment | Proposed Revised Text | Justification | By | Date | Comment | Proposed Revised Text | Justification | Follow Up | By | Date | Comment | Proposed Revised Text | Justification | Follow Up | By | Date | Comment | Proposed Revised Text | Justification | Follow Up | By | Date | Comment | Proposed Revised Text | Justification | Follow Up | By | Date | Comment | Justification
Definitions | 1 | 2 | 202 | 2025 CBC Definitions | CHILD-CARE. For the purposes of these regulations, means the care of children during any period of a 24-hour day where permanent sleeping accommodations are not provided. The time-period shall not be more than 24 hours. Note: “Child care” shall not be construed to preclude the use of cots or mats for napping purposes, provided all employees, attendants and staff personnel are awake and on duty in the area where napping occurs.
Definitions | 2 | 2 | 202 | 2025 CBC Definitions | CHILD-CARE CENTER. Any facility of any capacity other than a large or small family day-care home as defined in these regulations in which less than 24-hour-per-day nonmedical supervision is provided for children in a group setting.
Definitions | 3 | 2 | 202 | 2025 CBC Definitions | CHILD OR CHILDREN. A person or persons under the age of 18 years.
Definitions | 4 | 2 | 202 | 2025 CBC Definitions | DAY-CARE. For the purposes of these regulations, means the care of persons during any period of a 24-hour day where permanent sleeping accommodations are not provided. The time period shall not be more than 24 hours. Note: “Day-care” shall not be construed to preclude the use of cots or mats for napping purposes, provided all employees, attendants and staff personnel are awake and on duty in the area where napping occurs.
Definitions | 5 | 2 | 202 | 2025 CBC Definitions | DAY-CARE HOME, FAMILY. A home that regularly provides care, protection and supervision for 14 or fewer children, in the provider’s own home, for periods of less than 24 hours per day, while the parents or guardians are away, and is either a large family day-care home or a small family day-care home.
Definitions | 6 | 2 | 202 | 2025 CBC Definitions | DAY-CARE HOME, LARGE FAMILY. A provider’s own home which is licensed to provide day care for periods less than 24 hours per day for nine to 14 persons, including children under the age of 10 years who reside at the home.
Definitions | 7 | 2 | 202 | 2025 CBC Definitions | DAY-CARE HOME, SMALL FAMILY. A home which provides family day-care to eight or fewer children, including children under the age of 10 years who reside at the home, in the provider’s own home, for periods of less than 24 hours per day. Small family day-care homes are exempted from state fire and life safety regulations other than those state and local standards applicable to Group R-3 occupancies. (See Health and Safety Code, Section 13143 (b).)
Definitions | 8 | 2 | 202 | 2025 CBC Definitions | TODDLER. Any child between 18 months and 36 months of age.
Occupancy Classifications | 9 | 3 | 305 | 305.2 | 305.2 Group E, child-care facilities. This group includes buildings and structures or portions thereof occupied by more than six children 36 months of age and older who receive educational, supervision or personal care services for fewer than 24 hours per day. Exception: [SFM] A child-care facility not otherwise classified a Group R-3 occupancy, where occupants are not capable of responding to an emergency situation without physical assistance from the staff shall be classified as Group I-4. Infants and toddlers are allowed in a Group E child care when the facility compiets with California building Code Section 305.2.1, 305.2.2, 305.2.3, or 308.5.1.
Occupancy Classifications | 10 | 3 | 305 | 305.2.1 | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy where not licensed for child-care purposes by the Department of Social Services.
Occupancy Classifications | 11 | 3 | 308 | 308.5 | 308.5 Institutional Group I-4, day care facilities. Institutional Group I-4 occupancy shall include buildings and structures occupied by more than six clients of any age who receive custodial care for fewer than 24 hours per day by persons other than parents or guardians; relatives by blood, marriage or adoption; and in a place other than the home of the clients cared for. This group shall include, but not be limited to, the following: Adult day care, Child care (not classified as Group E)
Occupancy Classifications | 12 | 3 | 308 | 308.5.1 | 308.5.1 Classification as Group E. A child day care facility that provides care for more than six but not more than 100 children under 36 years of age, where the rooms in which the children are cared for are located on a level of exit discharge serving such rooms and each of these child care rooms has an exit door directly to the exterior, shall be classified as Group E. 308.5.1.1 Special provisions. See Section 452.1.4 for daycares located above or below the first story.
Occupancy Classifications | 13 | 3 | 308 | 308.5.2 | 308.5.2 Within a place of religious worship.Rooms and spaces within places of religious worship providing such care during religious functions shall be licensed by the California State Department Health Services as required by Health and Safety Code Division 2 Chapter 3.5.
Occupancy Classifications | 14 | 3 | 310 | 310.4 | 310.4 Residential Group R-3. Residential Group R-3 occupancies where the occupants are primarily permanent in nature and not classified as Group R-1, R-2, R-2.1, R-2.2, R-3.1, R-4 or I, including: Buildings that do not contain more than two dwelling units, Care facilities that provide accommodations for five or fewer persons receiving care, Congregate residences (nontransient) with 16 or fewer occupants, Boarding houses (nontransient)ConventsDormitories, Fraternities and sororities, Monasteries, Congregate residences (transient) with 10 or fewer occupants [HCD 1] Efficiency dwelling units, Boarding houses (transient), Adult care facilities that provide accommodations for six or fewer clients of any age for less than 24 hours, Licensing categories that may use this classification include Adult Day Programs, Alcoholism or drug abuse recovery homes (ambulatory only), Child-care facilities that provide accommodations for six or fewer clients of any age for less than 24 hours, Licensing categories that may use this classification include, but are not limited to: Day-Care Center for Mildly Ill Children, Infant Care Center, School Age Child Day-Care Center, Family Day-Care Homes that provide accommodations for 14 or fewer children, in the provider’s own home for less than 24-hours.Adult care and child-care facilities that are within a single family home are permitted to comply with the California Residential Code. Lodging houses (transient) with five or fewer guest rooms and 10 or fewer occupants
Chapter 4 | 15 | 4 | 436 | 436.1 | 436.1 Group I-4 special provisions. Rooms classified as Group I-4 shall not be located above or below the first story. Exceptions: 1.Basements or stories having floor levels located within 4 feet (1219 mm), measured vertically, from adjacent ground level at the level of exit discharge, provided the basement or story has exterior exit doors at that level. 2.Group I-4 child-care center or adult day care may be located above the first story in buildings of Types II-A, III-A, IV-A, IV-B and IV-C construction, subject to the limitation of Section 503 when: 2.1.Group I-4 child-care centers with children under the age of seven or containing more than 12 children per story shall not be located above the fourth floor; and 2.2.The entire story in which the Group I-4 childcare center or adult day care is located is equipped with an approved manual fire alarm and automatic smoke-detection system. (See the California Fire Code.) Actuation of an initiating device shall sound an audible alarm throughout the entire story. When a building fire alarm system is required by other provisions of this code or the Fire Code, the alarm system shall be connected to the building alarm system. An approved alarm signal shall sound at an approved location in the Group I-4 facility to indicate a fire alarm or sprinkler flow condition in other portions of the building; and 2.3.Group I-4 child-care center or adult day care, if more than 1,000 square feet (92.9 m2) in area, is divided into at least two compartments of approximately the same size by a smoke barrier with door openings protected by smoke- and draft-control assemblies having a fire-protection rating of not less than 20 minutes. Smoke barriers shall have a fire-resistive rating of not less than one hour. In addition to the requirements of Section 508.3.3, occupancy separations between Group I-4 child-care center or adult day care and other occupancies shall be constructed as smoke barriers. Door openings in the smoke barrier shall be tightfitting, with gaskets installed as required by Section 710, and shall be automatic closing by actuation of the automatic sprinklers, fire alarm or smoke-detection system. 2.4.Each compartment formed by the smoke barrier has not less than two exits or exit access doors, one of which is permitted to pass through the adjoining compartment; and 2.5.Where two or more exits or exit access are required at least one shall not share a common path of travel. The egress system shall comply with the requirements of Section 709 for smoke barriers. 2.6.The building is equipped with an automatic sprinkler system throughout.
Chapter 4 | 16 | 4 | 436 | 436.1.1 | 436.1.1 Egress. Rooms used for Group I-4 child care or adult day care on the first floor shall have one exit door directly to the exterior. Exception: One-hour rated corridors with a minimum width of 60 inches.
Chapter 4 | 17 | 4 | 452 | 452.1 | 452.1 General provisions. School facilities for Kindergarten through 12th grade and Group E child care shall comply with the provisions of this section and other applicable provisions of this code including requirements for specific occupancies.
Chapter 4 | 18 | 4 | 452 | 452.1.1 | 452.1.1 Location on property. All buildings housing Group E occupancies shall front directly on a public street or an exit discharge not less than 20 feet (6096 mm) in width. The exit discharge to the public street shall be a minimum 20-foot-wide (6096 mm) right-of-way, unobstructed and maintained only as access to the public street. At least one required exit shall be located on the public street or on the exit discharge.
Chapter 4 | 19 | 4 | 452 | 452.1.2 | 452.1.2 Separate means of egress systems required. Every room with an occupant load of 300 or more shall have one of its exits or exit-access doorways lead directly into a separate means of egress system that consists of not less than two paths of exit travel which are separated by a smoke barrier in accordance with Section 709 in such a manner to provide an atmospheric separation that precludes contamination of both paths of exit travel by the same fire. Not more than two required exits or exit-access doorways shall enter into the same means of egress system.
Chapter 4 | 20 | 4 | 452 | 452.1.3 | 452.1.3 Fences and gates. School grounds may be fenced and gates therein may be equipped with locks, provided that safe dispersal areas based on 3 square feet (0.28 m2) per occupant are located between the school and the fence. Such required safe dispersal areas shall not be located less than 50 feet (15 240 mm) from school buildings. Every public and private school shall conform with Section 32020 of the Education Code which states: The governing board of every public school district, and the governing authority of every private school, which maintains any building used for the instruction or housing of school pupils on land entirely enclosed (except for building walls) by fences of walls, shall, through cooperation with the local law enforcement and fire-protection agencies having jurisdiction of the area, make provision for the erection of gates in such fences or walls. The gates shall be of sufficient size to permit the entrance of the ambulances, police equipment and fire-fighting apparatus used by the law enforcement and fire-protection agencies. There shall be no less than one such access gate and there shall be as many such gates as needed to assure access to all major buildings and ground areas. If such gates are to be equipped with locks, the locking devices shall be designed to permit ready entrance by the use of the chain or bolt-cutting devices with which the local law enforcement and fire-protection agencies may be equipped.
Chapter 4 | 21 | 4 | 452 | 452.1.4 | 452.1.4 Special provisions. Rooms used by kindergarten, first- or second-grade pupils, and Group E child care, shall not be located above or below the first story. Exceptions: 1.Kindergarten, first- or second-grade pupils, or Group E child care may be located in basements or stories having floor levels located within 4 feet (1219 mm), measured vertically, from the adjacent ground level at the level of exit discharge, provided the basement or story has exterior exit doors at that level. 2.In buildings equipped with an automatic sprinkler system throughout, rooms used for kindergarten, first- and second-grade children or for Group E child-care purposes may be located on the second story, provided there are at least two exterior exit doors, or other egress systems complying with Section 1020 with two exits, for the exclusive use of such occupants. Egress systems for the exclusive use of such occupants shall be maintained until exit discharge at grade is attained. 3.Group E day-care facilities may be located above the first story in buildings of Type I-A, I-B, II-A, III-A, IV-A, IV-B and IV-C construction, subject to the limitation of Section 503 when: 3.1.Facilities with children under the age of seven or containing more than 12 children per story shall not be located above the fourth floor; and 3.2.The entire story in which the day-care facility is located is equipped with an approved manual fire alarm and automatic smoke-detection system. Actuation of an initiating device shall sound an audible alarm throughout the entire story. When a building fire alarm system is required by other provisions of this code, the alarm system shall be interconnected and sound the day-care fire alarm system; and 3.3.The day-care facility, if more than 1,000 square feet (92.9 m2) in area, is divided into at least two compartments of approximately the same size by a smoke barrier in accordance with Section 709. In addition to the requirements of Section 508, occupancy separations between day-care and other occupancies shall be constructed as smoke barriers. Door openings in the smoke barrier shall be tight fitting, with gaskets installed as required by Section 716.5.3.1 and shall be automatic closing by actuation of the fire sprinklers, fire alarm or smoke detection system; and 3.4.Each compartment formed by the smoke barrier has not less than two exits or exit-access doors, one of which is permitted to pass through the adjoining compartment, and 3.5.At least one exit or exit-access door from the day-care facility shall be into a separate means of egress with not less than two paths of exit travel, which are separated in such a manner to provide an atmospheric separation. The egress system shall comply with the requirements of Section 709 for smoke barriers. 3.6.The building is equipped with an automatic sprinkler system throughout.
Chapter 4 | 22 | 4 | 452 | 452.1.5 | 452.1.5 Special hazards. School classrooms constructed after January 1, 1990, not equipped with automatic sprinkler systems, which have metal grilles or bars on all their windows and do not have at least two exit doors within 3 feet (914 mm) of each end of the classroom opening to the exterior of the building or to a common hallway used for evacuation purposes, shall have an inside release for the grilles or bars on at least one window farthest from the exit doors. The window or windows with the inside release shall be clearly marked as emergency exits.
Mitigating Factors | 23 | 9 | 903 | 903.2.3 | 903.2.3 Group E. An automatic sprinkler system shall be provided for Group E occupancies as follows: 1.Throughout all Group E fire areas greater than 12,000 square feet (1115 m2) in area. 2.The Group E fire area is located on a floor other than a level of exit discharge serving such occupancies. Exception: In buildings where every classroom has not fewer than one exterior exit door at ground level, an automatic sprinkler system is not required in any area below the lowest level of exit discharge serving that area. 3.The Group E fire area has an occupant load of 300 or more. 4.In rooms or areas with special hazards such as laboratories, vocational shops and other such areas where hazardous materials in quantities not exceeding the maximum allowable quantity are used or stored. 5.Throughout any Group E structure greater than 12,000 square feet (1115 m2) in area, which contains more than one fire area, and which is separated into two or more buildings by fire walls of not less than 4 hour fire resistance rating without openings. 6.For public school state funded construction projects see Section 903.2.19. 7.For public school campuses: Kindergarten through 12th grade, see Section 903.2.20.
Mitigating Factors | 24 | 9 | 907 | 907.2.3.9 | 907.2.3.9 Day-care, Group E. 907.2.3.9.1 An automatic fire alarm system shall be provided in all buildings used as or containing a Group E day-care. Exception: Automatic detection devices are not required where an approved automatic sprinkler system is installed in accordance with Section 903.3.1.1 and the occupant notification appliances will activate on sprinkler water flow and manual activation is provided from a normally occupied location. 907.2.3.9.2 Smoke detectors shall be installed in every room used for sleeping or napping.
Mitigating Factors | 25 | 9 | 907 | 907.2.3.10 | 907.2.3.10 Day-care, Group E or Group I-4 located on a public school campus. An automatic fire alarm system shall be provided in all buildings used as or containing a Group E or Group I-4 day-care.

## IBC_CBC
ITEM NO. |  |  | 2025 CBC | 2022 CBC |  |  | 2021 IBC |  | 2019 CBC |  | 2018 IBC (Model) |  |  | 2016 CBC |  |  |  | 2015 IBC (Model)
| Chapt | Section | Section Text | Link | Section Text | Link | Section Text | Commentary | Link | Section Text | Link | Section Text | Commentary | Date | Comment | Section Text | Justification | Link | Section Text | Commentary
1 | 2 | 202 | CHILD-CARE. For the purposes of these regulations, means the care of children during any period of a 24-hour day where permanent sleeping accommodations are not provided. The time-period shall not be more than 24 hours. Note: “Child care” shall not be construed to preclude the use of cots or mats for napping purposes, provided all employees, attendants and staff personnel are awake and on duty in the area where napping occurs. | 202 | CHILD-CARE. For the purposes of these regulations, means the care of children during any period of a 24-hour day where permanent sleeping accommodations are not provided. The time-period shall not be more than 24 hours. Note: “Child care” shall not be construed to preclude the use of cots or mats for napping purposes, provided all employees, attendants and staff personnel are awake and on duty in the area where napping occurs.
2 | 2 | 202 | CHILD-CARE CENTER. Any facility of any capacity other than a large or small family day-care home as defined in these regulations in which less than 24-hour-per-day nonmedical supervision is provided for children in a group setting. | 202 | CHILD-CARE CENTER. Any facility of any capacity other than a large or small family day-care home as defined in these regulations in which less than 24-hour-per-day nonmedical supervision is provided for children in a group setting.
3 | 2 | 202 | CHILD OR CHILDREN. A person or persons under the age of 18 years. | 202 | CHILD OR CHILDREN. A person or persons under the age of 18 years.
4 | 2 | 202 | DAY-CARE. For the purposes of these regulations, means the care of persons during any period of a 24-hour day where permanent sleeping accommodations are not provided. The time period shall not be more than 24 hours. Note: “Day-care” shall not be construed to preclude the use of cots or mats for napping purposes, provided all employees, attendants and staff personnel are awake and on duty in the area where napping occurs. | 202 | DAY-CARE. For the purposes of these regulations, means the care of persons during any period of a 24-hour day where permanent sleeping accommodations are not provided. The time period shall not be more than 24 hours. Note: “Day-care” shall not be construed to preclude the use of cots or mats for napping purposes, provided all employees, attendants and staff personnel are awake and on duty in the area where napping occurs.
5 | 2 | 202 | DAY-CARE HOME, FAMILY. A home that regularly provides care, protection and supervision for 14 or fewer children, in the provider’s own home, for periods of less than 24 hours per day, while the parents or guardians are away, and is either a large family day-care home or a small family day-care home. | 202 | DAY-CARE HOME, FAMILY. A home that regularly provides care, protection and supervision for 14 or fewer children, in the provider’s own home, for periods of less than 24 hours per day, while the parents or guardians are away, and is either a large family day-care home or a small family day-care home.
6 | 2 | 202 | DAY-CARE HOME, LARGE FAMILY. A provider’s own home which is licensed to provide day care for periods less than 24 hours per day for nine to 14 persons, including children under the age of 10 years who reside at the home. | 202 | DAY-CARE HOME, LARGE FAMILY. A provider’s own home which is licensed to provide day care for periods less than 24 hours per day for nine to 14 persons, including children under the age of 10 years who reside at the home.
7 | 2 | 202 | DAY-CARE HOME, SMALL FAMILY. A home which provides family day-care to eight or fewer children, including children under the age of 10 years who reside at the home, in the provider’s own home, for periods of less than 24 hours per day. Small family day-care homes are exempted from state fire and life safety regulations other than those state and local standards applicable to Group R-3 occupancies. (See Health and Safety Code, Section 13143 (b).) | 202 | DAY-CARE HOME, SMALL FAMILY. A home which provides family day-care to eight or fewer children, including children under the age of 10 years who reside at the home, in the provider’s own home, for periods of less than 24 hours per day. Small family day-care homes are exempted from state fire and life safety regulations other than those state and local standards applicable to Group R-3 occupancies. (See Health and Safety Code, Section 13143 (b).)
8 | 2 | 202 | TODDLER. Any child between 18 months and 36 months of age. | 202 | TODDLER. Any child between 18 months and 36 months of age.
9 | 3 | 305.2 | 305.2 Group E, child-care facilities. This group includes buildings and structures or portions thereof occupied by more than six children 36 months of age and older who receive educational, supervision or personal care services for fewer than 24 hours per day. Exception: [SFM] A child-care facility not otherwise classified a Group R-3 occupancy, where occupants are not capable of responding to an emergency situation without physical assistance from the staff shall be classified as Group I-4. Infants and toddlers are allowed in a Group E child care when the facility compiets with California building Code Section 305.2.1, 305.2.2, 305.2.3, or 308.5.1. | 305.2 | 305.2 Group E, child-care facilities. This group includes buildings and structures or portions thereof occupied by more than six children 36 months of age and older who receive educational, supervision or personal care services for fewer than 24 hours per day. Exception: [SFM] A child-care facility not otherwise classified a Group R-3 occupancy, where occupants are not capable of responding to an emergency situation without physical assistance from the staff shall be classified as Group I-4. A maximum of five infants and toddlers are allowed in a Group E child care. | 2021 IBC 305.2 | 305.2 Group E, day care facilities. This group includes buildings and structures or portions thereof occupied by more than five children older than 21/2 years of age who receive educational, supervision or personal care services for fewer than 24 hours per day. | ❖ Group E day care occupancies include facilities intended to be used for the care and supervision of more than five children older than 2 1/2 years of age where individual care is for a period of less than 24 hours per day. Day care centers are a special concern since they are generally occupied by preschool children who are less capable of responding to an emergency. The hazards found in a day care center are far greater than in normal educational facilities, not so much because of the occupant or fuel load, but because of the inability of the occupants to respond. Children 2 1/2 years of age or less usually are not able to recognize an emergency situation, may not respond appropriately or simply may not be able to egress without assistance. Thus, facilities that have more than five children 21/2 years of age or less are classified as child care facilities and considered to be Group I-4 occupancies (see Section 308.5) unless the provisions of Sections 308.5.1 through 308.5.4 allow for a different classification. Locations where day care may be provided that would not be considered Group E are addressed in Sections 305.2.1 through 305.2.3. | 2019 CBC 305.2 (WITH JULY 2021 SUPP) | 305.2 Group E, day care facilities. This group includes buildings and structures or portions thereof occupied by more than six children 2 years of age and older who receive educational, supervision or personal care services for fewer than 24 hours per day. Exception: [SFM] A Day-care facility not otherwise classified as an R-3 occupancy, where occupants are not capable of responding to an emergency situation without physical assistance from the staff shall be classified as Group I-4. | 2018 IBC 305.2 | 305.2 Group E, day care facilities. This group includes buildings and structures or portions thereof occupied by more than five children older than 2 1/2 years of age who receive educational, supervision or personal care services for fewer than 24 hours per day. | ❖ Group E day care occupancies include facilities intended to be used for the care and supervision of more than five children older than 2 1/2 years of age where individual care is for a period of less than 24 hours per day. Day care centers are a special concern since they are generally occupied by preschool children who are less capable of responding to an emergency. The hazards found in a day care center are far greater than in normal educational facilities, not so much because of the occupant or fuel load, but because of the inability of the occupants to respond. Children 2 1/2 years of age or less usually are not able to recognize an emergency situation, may not respond appropriately or simply may not be able to egress without assistance. Thus, facilities that have more than five children 2 1/2 years of age or less are classified as child care facilities and considered to be Group I-4 (see Section 308.6) unless the provisions of Sections 308.6.1 through 308.6.4 allow for a different classification. Locations where child care may be provided that would not be considered Group E or I-2 are addressed in Sections 305.2.1 through 305.2.3. |  |  | 305.2 Group E, day care facilities. This group includes buildings and structure or portions thereof occupied by more than six children 2 years of age and older who receive educational, supervision or personal care service for few than 24 hours per day. Exception: [SFM] A Day-care facility not otherwise classified as an R-3 occupancy, where occupants are not capable of responding to an emergency situation without physical assistance from the staff shall be classified as Group I-4. |  | 2015 IBC 305.2 | 305.2 Group E, day care facilities. This group includes buildings and structures or portions thereof occupied by more than five children older than 21/2 years of age who receive educational, supervision or personal care services for fewer than 24 hours per day. | ❖ Group E day care occupancies include facilities intended to be used for the care and supervision of more than five children older than 2 1/2 years of age where individual care is for a period of less than 24 hours per day. Day care centers are a special concern since they are generally occupied by preschool children who are less capable of responding to an emergency. The hazards found in a day care center are far greater than in normal educational facilities, not so much because of the occupant or fuel load, but because of the inability of the occupants to respond. Children 2 1/2 years of age or less usually are not able to recognize an emergency situation, may not respond appropriately or simply may not be able to egress without assistance. Thus, facilities that have more than five children 2 1/2 years of age or less are classified as child care facilities and considered to be Group I-4 (see Section 308.6) unless the provisions of Sections 308.6.1 through 308.6.4 allow for a different classification. Locations where child care may be provided that would not be considered Group E or I-2 are addressed in Sections 305.2.1 through 305.2.3.
10 | 3 | 305.2.1 | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy where not licensed for child-care purposes by the Department of Social Services. | 305.2.1 | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy where not licensed for child-care purposes by the Department of Social Services. |  | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy. | ❖ Cry rooms and other types of child care areas within places of worship that are used for this purpose during a religious function need not be classified as Group E day care facilities. Such rooms and spaces may take on the classification of the primary occupancy, which in most cases would be Group A-3. The limited occupant load makes the need for classification as a Group E occupancy unnecessary. If the child care areas are used when there is not a service or other religious function going on simultaneously, such as for day care during the week, the religious facility would be a mixed-use building. |  | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy where not licensed for daycare purposes by the Department of Social Services. |  | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy. | ❖ Cry rooms and other types of child care areas within places of worship that are used for this purpose during a religious function need not be classified as Group E day care facilities. Such rooms and spaces may take on the classification of the primary occupancy, which in most cases would be Group A-3. The limited occupant load makes the need for classification as a Group E occupancy unnecessary. If the child care areas are used when there is not a service or other religious function going on simultaneously, such as for child day care during the week, the religious facility would be a mixed use building (see commentary, Section 303.5.2 or 308.6). |  |  | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy where not licensed for day-care purposes by the Department of Social Services. |  |  | 305.2.1 Within places of religious worship. Rooms and spaces within places of religious worship providing such day care during religious functions shall be classified as part of the primary occupancy. | ❖ Cry rooms and other types of child care areas within places of worship that are used for this purpose during a religious function need not be classified as Group E day care facilities. Such rooms and spaces may take on the classification of the primary occupancy, which in most cases would be Group A-3. The limited occupant load makes the need for classification as a Group E occupancy unnecessary. If the child care areas are used when there is not a service or other religious function going on simultaneously, such as for child day care during the week, the religious facility would be a mixed use building (see commentary, Section 303.5.2 or 308.6).
11 | 3 | 308.5 | 308.5 Institutional Group I-4, day care facilities. Institutional Group I-4 occupancy shall include buildings and structures occupied by more than six clients of any age who receive custodial care for fewer than 24 hours per day by persons other than parents or guardians; relatives by blood, marriage or adoption; and in a place other than the home of the clients cared for. This group shall include, but not be limited to, the following: Adult day care, Child care (not classified as Group E) | 308.5 | 308.5 Institutional Group I-4, day care facilities. Institutional Group I-4 occupancy shall include buildings and structures occupied by more than six clients of any age who receive custodial care for fewer than 24 hours per day by persons other than parents or guardians; relatives by blood, marriage or adoption; and in a place other than the home of the clients cared for. This group shall include, but not be limited to, the following: Adult day care, Child care (not classified as Group E) | 2021 IBC 308.5 | 308.5 Institutional Group I-4, day care facilities. Institutional Group I-4 occupancy shall include buildings and structures occupied by more than five persons of any age who receive custodial care for fewer than 24 hours per day by persons other than parents or guardians, relatives by blood, marriage or adoption, and in a place other than the home of the person cared for. This group shall include, but not be limited to, the following: Adult day care, Child day care | ❖ Facilities that contain provisions for the custodial care of more than five persons of any age are classified as Group I-4 (see definitions of “Personal care” and “Custodial care”). Group I-4 facilities are less restrictive in some requirements (e.g., height and area) than the other Group I occupancies. Group I-4 facilities are intended to be used to provide care for less than 24 hours. Day care facilities are not intended to be a fulltime residence for the people receiving care (see Sections 308.2 and 308.3). Staff members are assumed not to be related to individuals in day care facilities. The premise of the provisions is that the numbers receiving care are exclusive of staff. The care recipients in a Group I-4 occupancy are not expected to respond to an emergency without physical assistance from others. Group I-4 occupancies include both adult day care and child day care. Adult care facilities are assumed to be for people other than children who require some type of custodial (i.e., nonmedical) care. A facility where adults gather for social activities, such as a community center or a YMCA, is not an adult care facility (Group I) and would be regulated under other provisions of the code (Group A-3 or B). The classification of Group I-4 for an adult day care facility does not apply to facilities that provide personal care services for adults who are capable of responding to an emergency unassisted. In that case, the facility is simply classified into the occupancy group it most resembles. A facility providing a similar degree of custodial care for infants and toddlers on less than a 24-hour-per-day basis would be considered as a Group I-4 day care facility (see Sections 305.2 and 308.5.1). | 2019 CBC 308.5 | 308.5 Institutional Group I-4, day care facilities. Institutional Group I-4 occupancy shall include buildings and structures occupied by more than six clients of any age who receive custodial care for fewer than 24 hours per day by persons other than parents or guardians, relatives by blood, marriage or adoption, and in a place other than the home of the clients cared for. This group shall include, but not be limited to, the following: Adult day care Child day care | 2018 IBC 308.5 | 308.5 Institutional Group I-4, day care facilities. Institutional Group I-4 occupancy shall include buildings and structures occupied by more than five persons of any age who receive custodial care for fewer than 24 hours per day by persons other than parents or guardians, relatives by blood, marriage or adoption, and in a place other than the home of the person cared for. This group shall include, but not be limited to, the following: Adult day care Child day care | ❖ Facilities that contain provisions for the custodial care of more than five persons of any age are classified as Group I-4 (see definitions of “Personal care” and “Custodial care”). Group I-4 facilities are less restrictive in some requirements (e.g., height and area) than the other Group I occupancies. Group I-4 facilities are intended to be used to provide care for less than 24 hours. Day care facilities are not intended to be a fulltime residence for the people receiving care (see Sections 308.2 and 308.3). Staff members are assumed not to be related to individuals in day care facilities. The premise of the provisions is that the numbers receiving care are exclusive of staff. The care recipients in a Group I-4 occupancy are not expected to respond to an emergency without physical assistance from others. Group I-4 occupancies include both adult day care and child day care. Adult care facilities are assumed to be for people other than children who require some type of custodial (i.e., nonmedical) care. A facility where adults gather for social activities, such as a community center or a YMCA, is not an adult care facility (Group I) and would be regulated under other provisions of the code (Group A-3 or B). The classification of Group I-4 for an adult day care facility does not apply to facilities that provide personal care services for adults who are capable of responding to an emergency unassisted. In that case, the facility is simply classified into the occupancy group it most resembles. A facility providing a similar degree of custodial care for infants and toddlers on less than a 24-hour-per-day basis would be considered as a Group I-4 day care facility (see Sections 305.2 and 308.5.1).
12 | 3 | 308.5.1 | 308.5.1 Classification as Group E. A child day care facility that provides care for more than six but not more than 100 children under 36 years of age, where the rooms in which the children are cared for are located on a level of exit discharge serving such rooms and each of these child care rooms has an exit door directly to the exterior, shall be classified as Group E. 308.5.1.1 Special provisions. See Section 452.1.4 for daycares located above or below the first story. | 308.5.1 | 308.5.1 Reserved | 2021 IBC 308.5.1 | 308.5.1 Classification as Group E. A child day care facility that provides care for more than five but not more than 100 children 2 1/2 years or less of age, where the rooms in which the children are cared for are located on a level of exit discharge serving such rooms and each of these child care rooms has an exit door directly to the exterior, shall be classified as Group E. | ❖ Children 21/2 years of age or less (i.e., infants and toddlers) are not typically capable of independently responding to an emergency and must be led or carried to safety. Under such circumstances, the infants and toddlers are considered nonambulatory. Therefore, a Group I-4 classification is given to those facilities where six or more infants and toddlers receive custodial care for less than 24 hours per day. A similar condition is found in foster care facilities (Group I-2, Condition 1), where infants and toddlers stay for extended periods of time. The distinguishing factor between the two occupancies is the amount of time the facility provides care for each individual. Group I-2 facilities provide care on a 24-hour basis while in Group I-4 facilities, individual care must be less than 24 hours. It is also assumed that medical care is not present in Group I-4 facilities. A child day care facility in which the number of infants and toddlers is greater than five but not more than 100 is permitted to be classified as Group E, provided the infants and toddlers are all located in rooms on the level of exit discharge that serves such rooms and all of the rooms have exit doors directly to the exterior. This exception is only applicable to rooms and spaces used for child day care and is not intended to apply to accessory spaces such as restrooms, offices and kitchens. Many child day care facilities primarily catering to those under primary school age tend to divide the children into three general categories based on state laws and regulations. These include infant, toddler and preschool. Some variations do occur in that larger child day care facilities will have transition rooms for mobile infants or pre-K-oriented rooms for those entering kindergarten, but basically there is a mixture of children 21/2 years of age or less and older children. The older children can automatically be in a facility classified as a Group E occupancy (assuming no custodial care is provided), but for the younger children, this section would need to be applied to classify the entire occupancy as Group E. The total number of children can exceed 100 and the Group E classification can be retained, provided that the number of children 21/2 years of age or less is limited to 100. The infant and toddler rooms would need to have exits directly to the outside on the level of exit discharge. If this section is not applied, the entire facility would need to be classified as a mixed-occupancy facility of Groups E and I-4. By permitting the facility to be classified as Group E, the building would not be required to be sprinklered unless the fire area was greater than 12,000 square feet (115 m2). A Group I-4 facility would be required to be sprinklered regardless of the area. As a Group E occupancy, panic hardware would be required in rooms and spaces exceeding 50 occupants. See Commentary Figure 308.1. | 2019 CBC 308.5.1 | 308.5.1 Classification as Group E. A child day care facility that provides care for more than six but not more than 100 children under 2 years of age, where the rooms in which the children are cared for are located on a level of exit discharge serving such rooms and each of these child care rooms has an exit door directly to the exterior, shall be classified as Group E. 308.5.1.1 Special provisions. See Section 452.1.4 for daycares located above or below the first story. | 2018 IBC 308.5.1 | 308.5.1 Classification as Group E. A child day care facility that provides care for more than five but not more than 100 children 21/2 years or less of age, where the rooms in which the children are cared for are located on a level of exit discharge serving such rooms and each of these child care rooms has an exit door directly to the exterior, shall be classified as Group E. | ❖ Children 21/2 years of age or less (i.e., infants and toddlers) are not typically capable of independently responding to an emergency and must be led or carried to safety. Under such circumstances, the infants and toddlers are considered nonambulatory. Therefore, a Group I-4 classification is given to those facilities where six or more infants and toddlers receive custodial care for less than 24 hours per day. A similar condition is found in foster care facilities (Group I-2, Condition 1), where infants and toddlers stay for extended periods of time. The distinguishing factor between the two occupancies is the amount of time the facility provides care for each individual. Group I-2 facilities provide care on a 24-hour basis while in Group I-4 facilities, individual care must be less than 24 hours. It is also assumed that medical care is not present in Group I-4 facilities. A child care facility in which the number of infants and toddlers is greater than five but not more than 100 is permitted to be classified as Group E, provided the infants and toddlers are all located in rooms on the level of exit discharge that serves such rooms and all of the rooms have exit doors directly to the exterior. This exception is only applicable to rooms and spaces used for child care and is not intended to apply to accessory spaces such as restrooms, offices and kitchens. Many day care facilities primarily catering to those under primary school age tend to divide the children into three general categories based on state laws and regulations. These include infant, toddler and preschool. Some variations do occur in that larger day care facilities will have transition rooms for mobile infants or pre-K oriented rooms for those entering kindergarten. But basically there is a mixture of children 21/2 years or less and older children. The older children can automatically be in a facility classified as a Group E occupancy, but for the younger children the exception discussed in this section would need to be applied to classify the entire occupancy as Group E. The total number of children can exceed 100 and the Group E classification is retained, provided that the number of children 21/2 years or less is limited to 100 or fewer. The infant and toddler rooms would need to have exits directly to the outside on the level of exit discharge. If the exception is not applied, the entire facility would need to be classified as Group I-4 or a mixed-occupancy classification would be necessary. By permitting the facility to be classified as Group E, the building would not be required to be sprinklered unless the fire area was greater than 12,000 square feet (115 m2). A Group I-4 facility would be required to be sprinklered regardless of the area. But as a Group E occupancy, panic hardware would be required in rooms and spaces exceeding 50 occupants. See Commentary Figure 308.1.
13 | 3 | 308.5.2 | 308.5.2 Within a place of religious worship.Rooms and spaces within places of religious worship providing such care during religious functions shall be licensed by the California State Department Health Services as required by Health and Safety Code Division 2 Chapter 3.5. | 308.5.2 | 308.5.2 Within a place of religious worship.Rooms and spaces within places of religious worship providing such care during religious functions shall be licensed by the California State Department Health Services as required by Health and Safety Code Division 2 Chapter 3.5. | 2021 IBC 308.5.2 | 308.5.2 Within a place of religious worship. Rooms and spaces within places of religious worship providing such care during religious functions shall be classified as part of the primary occupancy. | ❖ Group I-4 provisions do not apply to places of religious worship simply providing care services during worship and related religious functions. If the space is used at other times as a day care facility, then it would be classified as Group I-4 or E as applicable. | 2019 CBC 308.5.2 | 308.5.2 Within a place of religious worship. Rooms and spaces within places of religious worship providing such care during religious functions shall be licensed by the California State Department Health Services as required by Health and Safety Code Division 2 Chapter 3.5. | 2018 IBC 308.5.2 | 308.5.2 Within a place of religious worship. Rooms and spaces within places of religious worship providing such care during religious functions shall be classified as part of the primary occupancy. | ❖ Group I-4 provisions do not apply to places of religious worship simply providing care services during worship and related religious functions. If the space is used at other times as a day care facility, then it would be classified as Group I-4 or E as applicable
14 | 3 | 310.4 | 310.4 Residential Group R-3. Residential Group R-3 occupancies where the occupants are primarily permanent in nature and not classified as Group R-1, R-2, R-2.1, R-2.2, R-3.1, R-4 or I, including: Buildings that do not contain more than two dwelling units, Care facilities that provide accommodations for five or fewer persons receiving care, Congregate residences (nontransient) with 16 or fewer occupants, Boarding houses (nontransient)ConventsDormitories, Fraternities and sororities, Monasteries, Congregate residences (transient) with 10 or fewer occupants [HCD 1] Efficiency dwelling units, Boarding houses (transient), Adult care facilities that provide accommodations for six or fewer clients of any age for less than 24 hours, Licensing categories that may use this classification include Adult Day Programs, Alcoholism or drug abuse recovery homes (ambulatory only), Child-care facilities that provide accommodations for six or fewer clients of any age for less than 24 hours, Licensing categories that may use this classification include, but are not limited to: Day-Care Center for Mildly Ill Children, Infant Care Center, School Age Child Day-Care Center, Family Day-Care Homes that provide accommodations for 14 or fewer children, in the provider’s own home for less than 24-hours.Adult care and child-care facilities that are within a single family home are permitted to comply with the California Residential Code. Lodging houses (transient) with five or fewer guest rooms and 10 or fewer occupants | 310.4 | 310.4 Residential Group R-3. Residential Group R-3 occupancies where the occupants are primarily permanent in nature and not classified as Group R-1, R-2, R-2.1, R-2.2, R-3.1, R-4 or I, including: Buildings that do not contain more than two dwelling units, Care facilities that provide accommodations for five or fewer persons receiving care, Congregate residences (nontransient) with 16 or fewer occupants, Boarding houses (nontransient)ConventsDormitories, Fraternities and sororities, Monasteries, Congregate residences (transient) with 10 or fewer occupants [HCD 1] Efficiency dwelling units, Boarding houses (transient), Adult care facilities that provide accommodations for six or fewer clients of any age for less than 24 hours, Licensing categories that may use this classification include Adult Day Programs, Alcoholism or drug abuse recovery homes (ambulatory only), Child-care facilities that provide accommodations for six or fewer clients of any age for less than 24 hours, Licensing categories that may use this classification include, but are not limited to: Day-Care Center for Mildly Ill Children, Infant Care Center, School Age Child Day-Care Center, Family Day-Care Homes that provide accommodations for 14 or fewer children, in the provider’s own home for less than 24-hours.Adult care and child-care facilities that are within a single family home are permitted to comply with the California Residential Code. Lodging houses (transient) with five or fewer guest rooms and 10 or fewer occupants
15 | 4 | 436 | 436.1 Group I-4 special provisions. Rooms classified as Group I-4 shall not be located above or below the first story. Exceptions: 1.Basements or stories having floor levels located within 4 feet (1219 mm), measured vertically, from adjacent ground level at the level of exit discharge, provided the basement or story has exterior exit doors at that level. 2.Group I-4 child-care center or adult day care may be located above the first story in buildings of Types II-A, III-A, IV-A, IV-B and IV-C construction, subject to the limitation of Section 503 when: 2.1.Group I-4 child-care centers with children under the age of seven or containing more than 12 children per story shall not be located above the fourth floor; and 2.2.The entire story in which the Group I-4 childcare center or adult day care is located is equipped with an approved manual fire alarm and automatic smoke-detection system. (See the California Fire Code.) Actuation of an initiating device shall sound an audible alarm throughout the entire story. When a building fire alarm system is required by other provisions of this code or the Fire Code, the alarm system shall be connected to the building alarm system. An approved alarm signal shall sound at an approved location in the Group I-4 facility to indicate a fire alarm or sprinkler flow condition in other portions of the building; and 2.3.Group I-4 child-care center or adult day care, if more than 1,000 square feet (92.9 m2) in area, is divided into at least two compartments of approximately the same size by a smoke barrier with door openings protected by smoke- and draft-control assemblies having a fire-protection rating of not less than 20 minutes. Smoke barriers shall have a fire-resistive rating of not less than one hour. In addition to the requirements of Section 508.3.3, occupancy separations between Group I-4 child-care center or adult day care and other occupancies shall be constructed as smoke barriers. Door openings in the smoke barrier shall be tightfitting, with gaskets installed as required by Section 710, and shall be automatic closing by actuation of the automatic sprinklers, fire alarm or smoke-detection system. 2.4.Each compartment formed by the smoke barrier has not less than two exits or exit access doors, one of which is permitted to pass through the adjoining compartment; and 2.5.Where two or more exits or exit access are required at least one shall not share a common path of travel. The egress system shall comply with the requirements of Section 709 for smoke barriers. 2.6.The building is equipped with an automatic sprinkler system throughout. | 436.1 | 436.1 Group I-4 special provisions. Rooms classified as Group I-4 shall not be located above or below the first story. Exceptions: 1.Basements or stories having floor levels located within 4 feet (1219 mm), measured vertically, from adjacent ground level at the level of exit discharge, provided the basement or story has exterior exit doors at that level. 2.Group I-4 child-care center or adult day care may be located above the first story in buildings of Types II-A, III-A, IV-A, IV-B and IV-C construction, subject to the limitation of Section 503 when: 2.1.Group I-4 child-care centers with children under the age of seven or containing more than 12 children per story shall not be located above the fourth floor; and 2.2.The entire story in which the Group I-4 childcare center or adult day care is located is equipped with an approved manual fire alarm and automatic smoke-detection system. (See the California Fire Code.) Actuation of an initiating device shall sound an audible alarm throughout the entire story. When a building fire alarm system is required by other provisions of this code or the Fire Code, the alarm system shall be connected to the building alarm system. An approved alarm signal shall sound at an approved location in the Group I-4 facility to indicate a fire alarm or sprinkler flow condition in other portions of the building; and 2.3.Group I-4 child-care center or adult day care, if more than 1,000 square feet (92.9 m2) in area, is divided into at least two compartments of approximately the same size by a smoke barrier with door openings protected by smoke- and draft-control assemblies having a fire-protection rating of not less than 20 minutes. Smoke barriers shall have a fire-resistive rating of not less than one hour. In addition to the requirements of Section 508.3.3, occupancy separations between Group I-4 child-care center or adult day care and other occupancies shall be constructed as smoke barriers. Door openings in the smoke barrier shall be tightfitting, with gaskets installed as required by Section 710, and shall be automatic closing by actuation of the automatic sprinklers, fire alarm or smoke-detection system. 2.4.Each compartment formed by the smoke barrier has not less than two exits or exit access doors, one of which is permitted to pass through the adjoining compartment; and 2.5.Where two or more exits or exit access are required at least one shall not share a common path of travel. The egress system shall comply with the requirements of Section 709 for smoke barriers. 2.6.The building is equipped with an automatic sprinkler system throughout.
16 | 4 | 436 | 436.1.1 Egress. Rooms used for Group I-4 child care or adult day care on the first floor shall have one exit door directly to the exterior. Exception: One-hour rated corridors with a minimum width of 60 inches. | 436.1.1 | 436.1.1 Egress. Rooms used for Group I-4 child care or adult day care on the first floor shall have one exit door directly to the exterior. Exception: One-hour rated corridors with a minimum width of 60 inches.
17 | 4 | 452 | 452.1 General provisions. School facilities for Kindergarten through 12th grade and Group E child care shall comply with the provisions of this section and other applicable provisions of this code including requirements for specific occupancies. | 452 | 452.1 General provisions. School facilities for Kindergarten through 12th grade and Group E child care shall comply with the provisions of this section and other applicable provisions of this code including requirements for specific occupancies.
18 | 4 | 452 | 452.1.1 Location on property. All buildings housing Group E occupancies shall front directly on a public street or an exit discharge not less than 20 feet (6096 mm) in width. The exit discharge to the public street shall be a minimum 20-foot-wide (6096 mm) right-of-way, unobstructed and maintained only as access to the public street. At least one required exit shall be located on the public street or on the exit discharge. | 452 | 452.1.1 Location on property. All buildings housing Group E occupancies shall front directly on a public street or an exit discharge not less than 20 feet (6096 mm) in width. The exit discharge to the public street shall be a minimum 20-foot-wide (6096 mm) right-of-way, unobstructed and maintained only as access to the public street. At least one required exit shall be located on the public street or on the exit discharge.
19 | 4 | 452 | 452.1.2 Separate means of egress systems required. Every room with an occupant load of 300 or more shall have one of its exits or exit-access doorways lead directly into a separate means of egress system that consists of not less than two paths of exit travel which are separated by a smoke barrier in accordance with Section 709 in such a manner to provide an atmospheric separation that precludes contamination of both paths of exit travel by the same fire. Not more than two required exits or exit-access doorways shall enter into the same means of egress system. | 452 | 452.1.2 Separate means of egress systems required. Every room with an occupant load of 300 or more shall have one of its exits or exit-access doorways lead directly into a separate means of egress system that consists of not less than two paths of exit travel which are separated by a smoke barrier in accordance with Section 709 in such a manner to provide an atmospheric separation that precludes contamination of both paths of exit travel by the same fire. Not more than two required exits or exit-access doorways shall enter into the same means of egress system.
20 | 4 | 452 | 452.1.3 Fences and gates. School grounds may be fenced and gates therein may be equipped with locks, provided that safe dispersal areas based on 3 square feet (0.28 m2) per occupant are located between the school and the fence. Such required safe dispersal areas shall not be located less than 50 feet (15 240 mm) from school buildings. Every public and private school shall conform with Section 32020 of the Education Code which states: The governing board of every public school district, and the governing authority of every private school, which maintains any building used for the instruction or housing of school pupils on land entirely enclosed (except for building walls) by fences of walls, shall, through cooperation with the local law enforcement and fire-protection agencies having jurisdiction of the area, make provision for the erection of gates in such fences or walls. The gates shall be of sufficient size to permit the entrance of the ambulances, police equipment and fire-fighting apparatus used by the law enforcement and fire-protection agencies. There shall be no less than one such access gate and there shall be as many such gates as needed to assure access to all major buildings and ground areas. If such gates are to be equipped with locks, the locking devices shall be designed to permit ready entrance by the use of the chain or bolt-cutting devices with which the local law enforcement and fire-protection agencies may be equipped. | 452 | 452.1.3 Fences and gates. School grounds may be fenced and gates therein may be equipped with locks, provided that safe dispersal areas based on 3 square feet (0.28 m2) per occupant are located between the school and the fence. Such required safe dispersal areas shall not be located less than 50 feet (15 240 mm) from school buildings. Every public and private school shall conform with Section 32020 of the Education Code which states: The governing board of every public school district, and the governing authority of every private school, which maintains any building used for the instruction or housing of school pupils on land entirely enclosed (except for building walls) by fences of walls, shall, through cooperation with the local law enforcement and fire-protection agencies having jurisdiction of the area, make provision for the erection of gates in such fences or walls. The gates shall be of sufficient size to permit the entrance of the ambulances, police equipment and fire-fighting apparatus used by the law enforcement and fire-protection agencies. There shall be no less than one such access gate and there shall be as many such gates as needed to assure access to all major buildings and ground areas. If such gates are to be equipped with locks, the locking devices shall be designed to permit ready entrance by the use of the chain or bolt-cutting devices with which the local law enforcement and fire-protection agencies may be equipped.
21 | 4 | 452 | 452.1.4 Special provisions. Rooms used by kindergarten, first- or second-grade pupils, and Group E child care, shall not be located above or below the first story. Exceptions: 1.Kindergarten, first- or second-grade pupils, or Group E child care may be located in basements or stories having floor levels located within 4 feet (1219 mm), measured vertically, from the adjacent ground level at the level of exit discharge, provided the basement or story has exterior exit doors at that level. 2.In buildings equipped with an automatic sprinkler system throughout, rooms used for kindergarten, first- and second-grade children or for Group E child-care purposes may be located on the second story, provided there are at least two exterior exit doors, or other egress systems complying with Section 1020 with two exits, for the exclusive use of such occupants. Egress systems for the exclusive use of such occupants shall be maintained until exit discharge at grade is attained. 3.Group E day-care facilities may be located above the first story in buildings of Type I-A, I-B, II-A, III-A, IV-A, IV-B and IV-C construction, subject to the limitation of Section 503 when: 3.1.Facilities with children under the age of seven or containing more than 12 children per story shall not be located above the fourth floor; and 3.2.The entire story in which the day-care facility is located is equipped with an approved manual fire alarm and automatic smoke-detection system. Actuation of an initiating device shall sound an audible alarm throughout the entire story. When a building fire alarm system is required by other provisions of this code, the alarm system shall be interconnected and sound the day-care fire alarm system; and 3.3.The day-care facility, if more than 1,000 square feet (92.9 m2) in area, is divided into at least two compartments of approximately the same size by a smoke barrier in accordance with Section 709. In addition to the requirements of Section 508, occupancy separations between day-care and other occupancies shall be constructed as smoke barriers. Door openings in the smoke barrier shall be tight fitting, with gaskets installed as required by Section 716.5.3.1 and shall be automatic closing by actuation of the fire sprinklers, fire alarm or smoke detection system; and 3.4.Each compartment formed by the smoke barrier has not less than two exits or exit-access doors, one of which is permitted to pass through the adjoining compartment, and 3.5.At least one exit or exit-access door from the day-care facility shall be into a separate means of egress with not less than two paths of exit travel, which are separated in such a manner to provide an atmospheric separation. The egress system shall comply with the requirements of Section 709 for smoke barriers. 3.6.The building is equipped with an automatic sprinkler system throughout. | 452 | 452.1.4 Special provisions. Rooms used by kindergarten, first- or second-grade pupils, and Group E child care, shall not be located above or below the first story. Exceptions: 1.Kindergarten, first- or second-grade pupils, or Group E child care may be located in basements or stories having floor levels located within 4 feet (1219 mm), measured vertically, from the adjacent ground level at the level of exit discharge, provided the basement or story has exterior exit doors at that level. 2.In buildings equipped with an automatic sprinkler system throughout, rooms used for kindergarten, first- and second-grade children or for Group E child-care purposes may be located on the second story, provided there are at least two exterior exit doors, or other egress systems complying with Section 1020 with two exits, for the exclusive use of such occupants. Egress systems for the exclusive use of such occupants shall be maintained until exit discharge at grade is attained. 3.Group E day-care facilities may be located above the first story in buildings of Type I-A, I-B, II-A, III-A, IV-A, IV-B and IV-C construction, subject to the limitation of Section 503 when: 3.1.Facilities with children under the age of seven or containing more than 12 children per story shall not be located above the fourth floor; and 3.2.The entire story in which the day-care facility is located is equipped with an approved manual fire alarm and automatic smoke-detection system. Actuation of an initiating device shall sound an audible alarm throughout the entire story. When a building fire alarm system is required by other provisions of this code, the alarm system shall be interconnected and sound the day-care fire alarm system; and 3.3.The day-care facility, if more than 1,000 square feet (92.9 m2) in area, is divided into at least two compartments of approximately the same size by a smoke barrier in accordance with Section 709. In addition to the requirements of Section 508, occupancy separations between day-care and other occupancies shall be constructed as smoke barriers. Door openings in the smoke barrier shall be tight fitting, with gaskets installed as required by Section 716.5.3.1 and shall be automatic closing by actuation of the fire sprinklers, fire alarm or smoke detection system; and 3.4.Each compartment formed by the smoke barrier has not less than two exits or exit-access doors, one of which is permitted to pass through the adjoining compartment, and 3.5.At least one exit or exit-access door from the day-care facility shall be into a separate means of egress with not less than two paths of exit travel, which are separated in such a manner to provide an atmospheric separation. The egress system shall comply with the requirements of Section 709 for smoke barriers. 3.6.The building is equipped with an automatic sprinkler system throughout.
22 | 4 | 452 | 452.1.5 Special hazards. School classrooms constructed after January 1, 1990, not equipped with automatic sprinkler systems, which have metal grilles or bars on all their windows and do not have at least two exit doors within 3 feet (914 mm) of each end of the classroom opening to the exterior of the building or to a common hallway used for evacuation purposes, shall have an inside release for the grilles or bars on at least one window farthest from the exit doors. The window or windows with the inside release shall be clearly marked as emergency exits. | 452 | 452.1.5 Special hazards. School classrooms constructed after January 1, 1990, not equipped with automatic sprinkler systems, which have metal grilles or bars on all their windows and do not have at least two exit doors within 3 feet (914 mm) of each end of the classroom opening to the exterior of the building or to a common hallway used for evacuation purposes, shall have an inside release for the grilles or bars on at least one window farthest from the exit doors. The window or windows with the inside release shall be clearly marked as emergency exits.
23 | 9 | 903 | 903.2.3 Group E. An automatic sprinkler system shall be provided for Group E occupancies as follows: 1.Throughout all Group E fire areas greater than 12,000 square feet (1115 m2) in area. 2.The Group E fire area is located on a floor other than a level of exit discharge serving such occupancies. Exception: In buildings where every classroom has not fewer than one exterior exit door at ground level, an automatic sprinkler system is not required in any area below the lowest level of exit discharge serving that area. 3.The Group E fire area has an occupant load of 300 or more. 4.In rooms or areas with special hazards such as laboratories, vocational shops and other such areas where hazardous materials in quantities not exceeding the maximum allowable quantity are used or stored. 5.Throughout any Group E structure greater than 12,000 square feet (1115 m2) in area, which contains more than one fire area, and which is separated into two or more buildings by fire walls of not less than 4 hour fire resistance rating without openings. 6.For public school state funded construction projects see Section 903.2.19. 7.For public school campuses: Kindergarten through 12th grade, see Section 903.2.20. | 903.2.3 | 903.2.3 Group E. An automatic sprinkler system shall be provided for Group E occupancies as follows: 1.Throughout all Group E fire areas greater than 12,000 square feet (1115 m2) in area. 2.The Group E fire area is located on a floor other than a level of exit discharge serving such occupancies. Exception: In buildings where every classroom has not fewer than one exterior exit door at ground level, an automatic sprinkler system is not required in any area below the lowest level of exit discharge serving that area. 3.The Group E fire area has an occupant load of 300 or more. 4.In rooms or areas with special hazards such as laboratories, vocational shops and other such areas where hazardous materials in quantities not exceeding the maximum allowable quantity are used or stored. 5.Throughout any Group E structure greater than 12,000 square feet (1115 m2) in area, which contains more than one fire area, and which is separated into two or more buildings by fire walls of not less than four hour fire resistance rating without openings. 6.For public school state funded construction projects see Section 903.2.19. 7.For public school campuses: Kindergarten through 12th grade, see Section 903.2.20.
24 | 9 | 907 | 907.2.3.9 Day-care, Group E. 907.2.3.9.1 An automatic fire alarm system shall be provided in all buildings used as or containing a Group E day-care. Exception: Automatic detection devices are not required where an approved automatic sprinkler system is installed in accordance with Section 903.3.1.1 and the occupant notification appliances will activate on sprinkler water flow and manual activation is provided from a normally occupied location. 907.2.3.9.2 Smoke detectors shall be installed in every room used for sleeping or napping. | 907.2.3.9 | 907.2.3.9 Day-care, Group E. 907.2.3.9.1 An automatic fire alarm system shall be provided in all buildings used as or containing a Group E day-care. Exception: Automatic detection devices are not required where an approved automatic sprinkler system is installed in accordance with Section 903.3.1.1 and the occupant notification appliances will activate on sprinkler water flow and manual activation is provided from a normally occupied location. 907.2.3.9.2 Smoke detectors shall be installed in every room used for sleeping or napping.
25 | 9 | 907 | 907.2.3.10 Day-care, Group E or Group I-4 located on a public school campus. An automatic fire alarm system shall be provided in all buildings used as or containing a Group E or Group I-4 day-care. | 907.2.3.10 | 907.2.3.10 Day-care, Group E or Group I-4 located on a public school campus. An automatic fire alarm system shall be provided in all buildings used as or containing a Group E or Group I-4 day-care.

## Sub-Groups
Sub-Group Name | Lead - Name | Lead Contact Information
Definitions | Cortney Nelson | Cortney.Nelson@dss.ca.gov (Definitions - Lead)
Occupancy Classifications | Melanee Cottrill | melanee@headstartca.org (Occupancy Classifications - Lead)
Chapter 4 | Patricia Rock | Patricia.Rock@fire.ca.gov (Chapter 4 - Lead)
Mitigating Factors | Michael Duarte | michael.duarte@dss.ca.gov (Mitigating Factors - Lead)
Std. 850 Fire Clearance | Tabled-Future Group | n/a