# Office of the State Fire Marshal (OSFM)
Unified Program Agency Evaluation Checklist

Hazardous Materials Management Plan (HMMP) and Hazardous Materials Inventory Statement (HMIS)
and Aboveground Petroleum Storage Act (APSA) Programs

Unified Program Agency (UPA) Name: 
Evaluation Year:      		Evaluator Name:

Important Dates

CUPA Evaluation Notification Letter Date:

Notify California Environmental Protection Agency (CalEPA) team lead of any missing or incomplete records in SharePoint:      
Initial Preliminary Summary of Findings (PSOF) due to CalEPA:

Preliminary Activities

Review previous evaluation summary of findings 
End date of previous evaluation assessment for OSFM:      
Does the UPA have any uncorrected deficiencies or incidental findings in previous evaluation(s) from OSFM? Yes  No 
	If yes, list:

Does the Certified Unified Program Agency (CUPA) have any Participating Agency (PA)? 
												Yes  No 
Name of PA(s) implementing APSA program, if applicable:

Contact CalEPA team lead if unknown.

Generate and Evaluate Reports from California Environmental Reporting System (CERS)

(Include date of download in file name for each CERS report)

Identify compliance monitoring and enforcement (CME) quarterly reporting based on the CUPA evaluation notification letter date:  January-March (Due April 30)      April-June (Due July 31)

July-September (Due October 31)     October-December (Due January 31)

APSA Facility Listing (details) report (Facilities Tab)					CUPA 	PA 
APSA Data Download CME report (Reports Tab)					CUPA 	PA 
APSA Facility Information report (Reports Tab)						CUPA 	PA

Review facility files requested for completeness and other requested documents in SharePoint.
 Notify CalEPA team lead of any missing records in SharePoint by due date. 
 Post kickoff meeting, notify CUPA and cc CalEPA of any potential deficiency or incidental finding based on review of CERS reports only. If no potential deficiency or incidental finding, then mark this step as complete.

Post kickoff meeting, if applicable, email CUPA and cc CalEPA about tag-along, observation, or oversight inspection. If not applicable, then mark this step as complete.
 Before or after Q&A meeting, notify CUPA and cc CalEPA of reconciliation of APSA facilities based on CERS and CUPA list. If no discrepancies, then mark this step as complete.

General Information

Total # of APSA tank facilities from:

- CERS:      		CUPA:      		PA (if applicable):

Inspection Staff

- Number of UPA staff inspecting tank facilities for compliance with Spill Prevention, Control, and Countermeasure (SPCC) Plan requirements of APSA:

CUPA:       		PA (if applicable):

- Is each inspector conducting SPCC Plan compliance inspections APSA trained and certified? (HSC, Section 25270.5(c))								Yes  No

- Refer to OSFM master list to verify if each inspector completed and passed APSA training.

- If no, add to PSOF as: Deficiency  Incidental Finding

- Obtain a list of all routine SPCC Plan compliance inspections conducted by untrained staff. Any SPCC Plan compliance inspections of APSA tank facilities done by untrained staff are not valid.  UPA must re-inspect such tank facilities by trained staff.

- Are all inspectors conducting SPCC Plan compliance inspections completing 6 hours of refresher training every 3 years since their initial training or December 17, 2024, whichever is more recent, per California Code of Regulations (CCR), Title 19, Section 1615?														Yes  No

  - 3-year cycle begins from date of completing (and passing) initial APSA training, or from December 17, 2024, whichever is more recent.

  - If no, add to PSOF as: Deficiency  Incidental Finding

- Initial training per HSC, Section 25270.5(c) or refresher training per CCR, Title 19, Section 1615 is not required for staff inspecting only conditionally exempt tank facilities.

Notes and Observations:

Tank Facility Statements (TFS) (HSC, Section 25270.6(a))

Are there any APSA tank facilities (such as federal facilities) required to submit TFS instead of Hazardous Materials Business Plan (HMBP) to CERS? 				Yes  No

If yes, specify details (including CERS ID number(s) and last TFS submittal date(s)):

Annual HMBP in lieu of TFS (Quantitative Review) (HSC, Section 25270.6(a)(2))

Timeframe (last 12 months from Notification Letter):

Review last 12 months of HMBP submittals (in lieu of TFS) by APSA tank facilities using CERS Facility Listing (details) report

- Submittal rate (including %) for HBMP inventory and site maps (excluding those marked ‘not applicable):       /       (     %)

  - If applicable, # of facilities that have never submitted an inventory and site map (check if these facilities submitted TFS):

  - If time permits, for any facility that incorrectly marked ‘not applicable’, review other submittals (chemical inventory and emergency response plan details) to determine whether they are ‘not applicable’, edit status to ‘applicable’ as necessary, and include in above statistics. For any facility that marked ‘not applicable’ and determined as ‘not applicable’ after review of other submittals, specify details (including CERS ID number(s)):

  - If submittals are below OSFM threshold, add to PSOF as: 
Deficiency  Incidental Finding  NA

- Submittal rate (including %) for HMBP emergency response and training plans (excluding those marked ‘not applicable):       /       (     %)

  - If applicable, # of facilities that have never submitted emergency response/training plans (check if these facilities submitted TFS):

  - For any facility that incorrectly marked ‘not applicable’, review other submittals (chemical inventory and emergency response plan details) to determine whether they are ‘not applicable’, edit status to ‘applicable’ as necessary, and include in above statistics. For any facility that marked ‘not applicable’ and determined as ‘not applicable’ after review of other submittals, specify details (including CERS ID number(s)):

  - If submittals are below OSFM threshold, add to PSOF as: 
Deficiency  Incidental Finding

Complete HMBP in lieu of TFS (Qualitative Review) (HSC, Section 25270.6(a)(2))

Review recently accepted HMBP submittal for each tank facility listed in Notification Letter – Enclosure 2. Refer to the OSFM CUPA Form 2 for each tank facility.

Are all HMBP submittals in lieu of TFS complete with all applicable elements?

- Any missing components? 								Yes  No

Commonly overlooked components are: site map – evacuation staging area, hazmat handling/storage areas, emergency shutoffs, and/or emergency response equipment; emergency response plan – local medical assistance and/or areas/systems requiring immediate inspection/isolation due to earthquake vulnerability.  Identify CERS ID numbers with missing components in the notes/ observations below.

- If missing components are observed, is there a pattern? 			Yes  No

If there is a pattern, then potentially a deficiency or incidental finding.

- If sufficient number of submittals are missing components, add to PSOF as: 
Deficiency  Incidental Finding  Observation

Notes and Observations:

APSA Facility Information

Timeframe (last 12 months from Notification Letter):

Quantitative Review (CCR Title 19, Section 1614(a))

Review last 12 months (from notification letter date) of APSA Facility Information submittals using the CERS Facility Listing (details) report

- Submittal rate (include %):       /       (     %)

- If applicable, # of tank facilities that have never submitted:

- If submittals are below OSFM threshold, add to PSOF as: 
Deficiency  Incidental Finding  NA

Qualitative Review (CCR Title 19, Section 1614(e)-(f))

Review the APSA Facility Information report. Compare with CUPA provided information for details, if applicable, and refer to the OSFM CUPA Form 2 for each tank facility.

Are all submittals complete	? 								Yes  No

- Date of SPCC Plan certification or last 5-year review of the SPCC Plan may be left blank by tank facility if they have no SPCC Plan in the current CERS.  UPA inspection reports or other CERS information may include notes on whether tank facility has an SPCC Plan.

- Tank facility that is conditionally exempt from preparing an SPCC Plan under APSA is not required to complete data fields for total aboveground petroleum storage capacity, date of SPCC Plan certification or last 5-year review, and number of tanks in underground areas (TIUGA).

Are the dates of SPCC Plan certification or last 5-year review of the SPCC Plan older than 5 years? 													Yes  No

- UPA records may include the date of SPCC Plan certification or last 5-year review of the SPCC Plan.

Are the total aboveground petroleum storage capacities/categories similar to the information provided by the UPA?											Yes  No

If sufficient number of submittals are incomplete/incorrect/outdated information, add to PSOF as: Deficiency  Incidental Finding  NA

Notes and Observations:

Inspection and Enforcement Program (I&E) Plan

(Note: No inspection requirement for fire code HMMP/HMIS.)

APSA Program – Inspection

APSA program included in inspection section? 						Yes  No 
CUPA’s APSA inspection frequency (or frequencies) identified?			Yes  No 
I&E Plan to include frequency (or frequencies) for all APSA tank facilities starting December 17, 2024

Timeframe for statutory mandated inspections (3 years):

Reminder: Do not include “new” facilities that are less than 3 years old from this analysis, but keep in overall total facility count. There is no expectation for any new facility to be inspected immediately. From CERS, use Facility Listing (details) report (may also need to add facilities from APSA Facility Information report and CUPA list) for routine inspection dates.

- For CUPA:

Complete the following for the CUPA, as applicable:

- Triennial inspections of facilities with 10,000 gallons or more of petroleum (excluding conditionally exempt tank facilities)

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected (include CERS ID):

  - If CUPA inspects more frequently, specify category (if different from ‘10,000 gallons or more of petroleum’) and frequency:

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

  - If CUPA inspects more frequently, specify category (if different from ‘10,000 gallons or more of petroleum’) and frequency:

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

- Triennial inspections of all other facilities, including conditionally exempt facilities

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected:

OR, if other facilities have different inspection frequencies, complete the following, as applicable:

  - Facilities with less than 10,000 gallons of petroleum (excluding conditionally exempt tank facilities)

    - Inspection frequency:

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected:

  - If the above category (less than 10,000 gallons) DOES NOT include facilities with less than 1,320 gallons of petroleum and one or more 55-gal. or larger TIUGAs

    - Inspection frequency:

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected:

- Conditionally exempt tank facilities

- Inspection frequency:

- Current inspections:      /      (     %)

- Overdue inspections:      /      (     %)

- Never inspected:

- If any of the “other” APSA tank facilities (less than 10,000 gallons of petroleum, TIUGA only facilities, or conditionally exempt facilities) are not being inspected by the CUPA, inspection frequency (or frequencies) must be established in I&E Plan (19 CCR, Sections 1609 & 1610).

  - Inspection frequency/frequencies not identified in I&E Plan (revised on/after December 17, 2024) for other APSA tank facilities (HSC Section 25270.4.5(b) & 25270.5(b); CCR Title 19, Sections 1609 & 1610), add to PSOF as:

Deficiency  Incidental Finding  NA

- For CUPA:

If mandated triennial inspections of facilities (10,000 gallons or more of petroleum, excluding conditionally exempt) are below OSFM threshold (HSC Section 25270.5(a)), add to PSOF as:

Deficiency  NA

- If mandated triennial inspections of facilities (10,000 gallons or more of petroleum) are met, but there is at least one facility (10,000 gallons or more of petroleum) that has never been inspected, add to PSOF as: Incidental Finding  NA

- If mandated triennial inspections of facilities (10,000 gallons or more of petroleum) are met, but alternative frequency per I&E Plan (or local ordinance) is below OSFM threshold, add to PSOF as: Incidental Finding  NA

- If inspections of other facilities (including conditionally exempt) are below OSFM threshold (HSC Sections 25270.4.5(b)& 25270.5(b); 19 CCR, Sections 1609 & 1610), add to PSOF as: Deficiency  Incidental Finding  NA

- For PA, if applicable: NA

Complete the following for the PA, as applicable:

  - Triennial inspection of facilities with 10,000 gal. or more petroleum (excluding conditionally exempt facilities)

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected (include CERS ID):

  - If PA has more frequent inspections of facilities with 10,000 gal. or more petroleum (excluding conditionally exempt facilities), specify frequency:

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

  - Triennial inspections of all other facilities, including conditionally exempt facilities

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected:

OR, if other facilities have different inspection frequencies, complete the following, as applicable:

  - Facilities with less than 10,000 gal. of petroleum (excluding conditionally exempt facilities)

    - Inspection frequency:

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected:

    - If this category DOES NOT include inspections of facilities storing less than 1,320 gal. with one or more 55-gal. or larger TIUGAs, specify frequency:

      - Current inspections:      /      (     %)

      - Overdue inspections:      /      (     %)

      - Never inspected:

  - Conditionally exempt tank facilities

    - Current inspections:      /      (     %)

    - Overdue inspections:      /      (     %)

    - Never inspected:

- If any of the “other” APSA tank facilities (less than 10,000 gallons of petroleum, TIUGA only facilities, or conditionally exempt facilities) are not being inspected by the PA, inspection frequency (or frequencies) must be established in I&E Plan (19 CCR, Sections 1609 & 1610).

  - Inspection frequency/frequencies not identified in I&E Plan (revised on/after December 17, 2024) for other APSA tank facilities (HSC Section 25270.4.5(b) & 25270.5(b); CCR Title 19, Sections 1609 & 1610), add to PSOF as:

Deficiency  Incidental Finding  NA

- For PA, if applicable: NA

If mandated triennial inspections of facilities (10,000 gallons or more of petroleum, excluding conditionally exempt) are below OSFM threshold (HSC Section 25270.5(a)), add to PSOF as: Deficiency  NA

- If mandated triennial inspections of facilities (10,000 gallons or more of petroleum) are met, but there is at least one facility (10,000 gallons or more of petroleum) that has never been inspected, add to PSOF as: Incidental Finding  NA

- If mandated triennial inspections of facilities (10,000 gallons or more of petroleum) are met, but alternative frequency per I&E Plan is below OSFM threshold, add to PSOF as: Incidental Finding  NA

- If inspections of other facilities (including conditionally exempt) are below OSFM threshold (HSC Sections 25270.4.5(b)& 25270.5(b); 19 CCR, Sections 1609 & 1610), add to PSOF as: Deficiency  Incidental Finding  NA

APSA Program – Pre-Inspection Procedures

If pre-inspection procedures are discussed for program elements, is APSA program include?													Yes  No  NA

If program specific enforcement is discussed, is APSA program included?	Yes  No  NA 
If any of the above items are no, then add to PSOF as: Observation

APSA Program – Enforcement

If compliance timeframes (return to compliance (RTC)) are discussed for program elements, is APSA program included?									Yes  No  NA

APSA program included in matrix of enforcement options, if any? 		Yes  No  NA

If program specific enforcement is discussed, is APSA program included?	Yes  No  NA 
If penalty calculations discussed for program elements, is APSA program included? 														Yes  No  NA

If any of the above items are no, then add to PSOF as: Observation

Notes and Observations:

Other I&E Plan Components
Are ‘all’ Unified Program elements identified/referenced? 			Yes  No  NA 
	If yes, does the list include the fire code HMMP/HMIS requirements?	Yes  No 
If there is any information on the fire code, is the information correct/current? 															Yes  No  NA

- Uniform Fire Code (UFC) is outdated and should be replaced with CFC. Fire code edition (year) should be current if mentioned or remove edition (year).

- No inspection requirement for fire code HMMP/HMIS.

If no to any of the above questions, then add to PSOF as: Observation

Notes and Observations (may be consolidated with other state organization’s I&E Plan observations):

Other items to add to PSOF as Observation:
Incorrect APSA and/or HMMP/HMIS citations 						Yes  No 
Outdated/incorrect APSA and/or HMMP/HMIS information 				Yes  No 
APSA program information is missing, but other program elements are specifically described in the inspection/enforcement section of the I&E Plan 					Yes  No 
Outdated/incorrect fire code information 							Yes  No 
CUPA states in their I&E Plan they can enforce the fire code (excluding HMMP/HMIS), but they have no authority 											Yes  No

If any of the above items are yes, then add to PSOF as: Observation

APSA Tank Facility Records Review – CME, Violation Classification/Citation, and RTC

Timeframe:

RTC – Open Violations

Review CERS APSA Data Download CME report.  Determine rate of open violations (no RTC) – enter the number of violations without documented RTC, the total number of violations cited for each of the last applicable time periods, and percentage rate.  Also include number of open violations for “No SPCC Plan” (4010001), repurposing UST as AST (4030012 for facility with SPCC Plan, 4030047 for any facility), and tank car/rail car/tank vehicle as stationary (fixed/permanent) tank systems (4030048). Time periods are generally 12-month periods, while the most recent time period could be 9, 15, or 18 months long. If necessary, include other time periods that are carryover from previous evaluation.

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

- Time period:      -

# of open violations / total number of violations:      /      (     %)

# of open violations for “No SPCC Plan”:

# of open violations for repurposing UST as AST:

# of open violations for using rail car, tank car, or tank vehicle as permanent/fixed AST:

If any RTC rate within any time period above is below OSFM threshold, then UPA is not following up and documenting RTC information. (HSC Sections 25404.1.2(c), 25270.2(c)(3), and/or 25270.4.5(a); 19 CCR Sections 1612(e) and (f); 27 CCR Sections 15185(a) and (c), 15200(a) and (e))

Add to PSOF as: Deficiency  Incidental Finding  NA

Are there any open violation(s) for ‘No SPCC Plan’, repurposing UST as AST, or using rail car, tank car or tank vehicle as permanent/fixed AST even if RTC rates meet OSFM threshold? (HSC Section 25270.4.5(a), 19 CCR Section 1607(b)-(c) 						Yes  No

If yes, add to PSOF as: Deficiency  Incidental Finding  NA

Open Violations (for >6 years OR 2 routine inspections)

Review CERS APSA Data Download CME report.  Are there any violations that are open for more than six years or two APSA routine inspection cycles, whichever is less?  These include open violations older than current evaluation timeframe.  (19 CCR Section 1612(f))	Yes  No

If yes, describe in detail, including CERS ID, number of violation(s), and violation date(s):

Note: Focus on violations such as ‘No SPCC Plan’, repurposing UST as AST, or using rail car, tank car or tank vehicle as permanent/fixed AST, and lack of general and sized/specific secondary containment at the facility.

Add to PSOF as: Deficiency  Incidental Finding  Observation  NA

‘Not Resolvable’ as RTC Qualifier

Using CERS APSA Data Download CME report, review violations with ‘not resolvable’ as RTC qualifier.

Valid use of ‘not resolvable’ as RTC qualifier includes: a facility that is no longer in business; facility reduced their aboveground petroleum storage capacity below APSA applicability threshold; or facility was purchased by new company (under new management). Some UPAs may close a violation using ‘not resolvable’ qualifier on a previous inspection and reissue the same violation in a recent inspection along with an elevated violation classification.

If there are instances of using ‘not resolvable’ as RTC qualifier that do not appear to be valid, describe in detail, including CERS ID, inspection date(s), and violation(s):

If there are sufficient instances of UPA using ‘not resolvable’ as RTC qualifier that do not appear to be valid, add to PSOF as: Observation

CME Data Quality
Refer to completed Form 2 for each facility file reviewed. Are there discrepancies in CME information in facility files (inspection reports, RTC documentation, etc.) provided by the UPA compared to CME information in CERS? (HSC Section 25404(e)(4); Cal. Code of Regulations (CCR), Title 27, Sections 15187(c) and 15290(a)(3) and (b))							Yes  No

- If yes, add to PSOF as: Deficiency  Incidental Finding  Observation

Violation Classification
Are any of the following violations classified as minor? (CCR Title 19, Sections 1607(a)-(c) and 1612(d))

- “No SPCC Plan” or “Failure to Prepare SPCC Plan” (4010001)		Yes  No

  - List all CERS IDs cited with above violation classified as minor:

- Repurposing underground storage tank (UST) as aboveground storage tank (AST) (4030012, 4030047) (effective December 17, 2024)						Yes  No

  - List all CERS IDs cited with above violation classified as minor:

- Rail car, tank car, tank vehicle managed at facility as storage tank in permanent or fixed installation (4030048) (effective December 17, 2024)				Yes  No

  - List all CERS IDs cited with above violation classified as minor:

- Follow-up with UPA if they could change the default setting in their data management system, if applicable, for above violations from minor to at least Class 2 violation.

- If yes to any of the above questions, mark as: Incidental Finding

Incorrect Violations

Other violations (such as 4010 or 4010008) being used for ‘no SPCC Plan’ violation? Yes  No  
	If yes, describe in detail, including CERS ID and inspection date:

Any 4010001 violations being incorrectly cited for other SPCC Plan related violations (such as 4010008)? 											Yes  No  
	If yes, describe in detail, including CERS ID and inspection date:

If there are other instances of UPA citing incorrect violations, describe in detail, including CERS ID, inspection date(s), and violation(s):

If yes to any above questions and there are sufficient instances of incorrect violations, add to PSOF along with ‘CME Data Quality’ as: Deficiency  Incidental Finding  Observation

APSA Inspection Checklist/Form

Utilizes CUPA Forum Board checklists		 Utilizes own checklist/form 		Checklist/form version (year):      
Checklist(s) comprehensive? 								Yes  No 
Has multiple checklists/forms based on SPCC Plan types/status?			Yes  No 
Checklists identify routine vs other inspection?						Yes  No 
Checklist(s) contains current violations?							Yes  No 
Checklist(s) contains citations (HSC Ch. 6.67 and/or CCR Title 19, Div. 1, Ch. 11)?															Yes  No 
Correct citations on checklist(s)? 								Yes  No

If ‘no’ to any above questions, add to PSOF as: Observation

HSC Chapter 6.67 and/or CCR Title 19, Chapter 11 should be cited first, then may reference Code of Federal Regulations (CFR), Title 40, Part 112. UPAs do not have authority to enforce the Federal SPCC rule. If 40 CFR Part 112 cited first, add to PSOF as: Observation

Notes and Observations:

Self-Audits

Is there information on APSA program, such as total number of regulated facilities, inspections, and enforcement? If no, move on to next section. 						Yes  No 
Is the APSA information consistent with the information in CERS? 			Yes  No

If significant inconsistencies or discrepancies exist, add to PSOF along with “CME Data Quality” and “Incorrect Violations” as: Deficiency  Incidental Finding

If discrepancies exist but no CME discrepancy deficiency or incidental finding, add to PSOF as: Observation

‘All’ Unified Program elements implemented and listed, but fire code HMMP/HMIS program is not listed as one of the six program elements, add to PSOF as: Observation

Notes and Observations:

Area Plan

Is there information on APSA, fire code, or OSFM/CA State Fire Marshal? If no, move on to next section.											Yes  No

Are ‘all’ Unified Program elements identified/referenced, but missing the fire code HMMP/HMIS? 													Yes  No

Are fire code citations/references current/correct?					Yes  No 
(UFC is outdated and should not be referenced; replace UFC with CFC. Also, edition of the fire code should be current if mentioned or removed.)

Is the OSFM/CA State Fire Marshal information correct?

Example: OSFM oversees intrastate hazardous liquid pipelines; OSFM no longer oversees interstate pipelines. Interstate pipelines are under the authority of US DOT PHMSA.

Yes  No

APSA program information, if any, is correct/current?					Yes  No

If there is any outdated or incorrect information on fire code, OSFM, or APSA, add to PSOF as: 
Observation

Notes and Observations:

Website

APSA Program
Is there any information on APSA? If no, move on to next section. 			  Yes  No 
Are the guidance documents, fact sheets, etc. correct and current?	 	  Yes  No  NA

Are the links relevant to APSA and SPCC valid and appropriate?		  Yes  No  NA 
Are Tier I and Tier II qualified facility SPCC Plan templates current?		  Yes  No  NA 
Does UPA have the old APSA FAQ (pre-2021) online?				  Yes  No

If there is any outdated or incorrect APSA/SPCC information or invalid APSA/SPCC link, add to PSOF as: Observation

HMMP & HMIS Program 
(Note: The HMMP/HMIS Program is consolidated with the HMBP Program to streamline the regulatory requirements for regulated facilities.)
Is there any information on HMBP? If no, move on to next section. 			Yes  No 
Is the HMBP information correct and current, including templates for HMBP components?
												Yes  No 
Are the links related to HMBP valid and appropriate?					Yes  No  
If applicable, are site map and emergency response/training plans instructions and templates current and correct? 											Yes  No

If there are any outdated or incorrect HMMP/HMIS information or invalid links, add to PSOF as: 
Observation

Notes and Observations:

Unified Program Facility Permit

Is there any information on APSA or HMMP/HMIS? If no, move on to next section.    Yes  No 
APSA or HMMP/HMIS information, including citations, correct?	 	     Yes  No  NA

If no, add to PSOF: Observation

Conditions of the permit include the Federal SPCC rule (40 CFR Part 112)?    Yes  No  NA

If yes, add to PSOF: Observation

Notes and Observations:

Local Ordinance

Is there any information on APSA or HMMP/HMIS? If no, move on to next section.    Yes  No 
APSA or HMMP/HMIS information, including citations, correct?	 	     Yes  No  NA

If no, add to PSOF: Observation

Notes and Observations:

Outstanding Implementation, Achievements, and Challenges:

Additional Notes: